# Project Report — AI Medical Diagnosis Cloud (Implementation-Based)

## Name :- Daksh Rathod

## 1. Problem Definition: The Challenge

The goal of this project is to provide fast, interpretable preliminary diagnostic assistance using deep learning models for medical images. The implementation includes two independent diagnostic pipelines and a cloud dashboard that performs inference, stores case history, and provides analytics.

## 1.1 Sub-Problem 1: Pneumonia Detection (Chest X-ray)

Binary classifier (Normal vs Pneumonia) trained with transfer learning on VGG16, ResNet50, and EfficientNetB0 backbones. Dataset: C:/Ai_project/chest_xray. Models and comparison CSV saved to C:/Ai_project/saved_models.

## 1.2 Sub-Problem 2: Skin Cancer Diagnosis (HAM10000)

Multi-class EfficientNetB0 model trained with class weights and two-stage fine-tuning to improve minority class sensitivity. Dataset in C:/Ai_project/dataset/skin. Model saved to C:/Ai_project/saved_models/skin_cancer_model_finetuned.h5.

## 2. Data Collection & Source

Datasets from public Kaggle sources placed locally under expected folders (CXR and HAM10000).

## 3. Data Pre-processing and Engineering

Both pipelines use ImageDataGenerator for resizing (224x224), normalization, and augmentation. Class weights used for HAM10000 imbalance mitigation.

## 4. Machine Learning Model Architecture

CXR: VGG16/ResNet50/EfficientNetB0 with binary crossentropy. 
Skin: EfficientNetB0 with categorical crossentropy. Two-stage fine-tuning (head then last 50 layers).

## 5. Model Performance and Interpretability

Metrics: accuracy and loss on test data. Grad-CAM implemented for interpretability showing model focus areas.

## 6. Implementation and Analytics (The Cloud Dashboard)

Frontend: Streamlit app connected to MySQL for authentication, patient records, and analytics.
Grad-CAM overlays and confidence-based analytics integrated.
Backups scheduled nightly to Excel.

## 7. Testing and Validation Harness (NEW)

New test and evaluation scripts added:

test_model_integrity.py:
- Loads all trained models and runs dummy inference.
- Checks Grad-CAM compatibility.

evaluate_models.py:
- Loads models and evaluates on test data (binary and multi-class).
- Computes precision, recall, and F1 for all classes.
- Saves results to evaluation_report.xlsx.

## 8. Conclusion and Future Work

Integrated ML + cloud system with interpretability, analytics, and validation.
Future: calibration, dockerization, clinician feedback integration, monitoring, and secure data management.